## Worksheet
Schedule ID | Trade | Trade Category | Strategic Partner | Frequency | Description | Type | Scope | Site | Building | Floor | Room | No of Day(s) Before to Notify | Start Date | End Date | Exclude | Work Started Date | Work Completed Date | Attended By | Portal ID | Service Report Completed Date | Total Number of Service Reports | Total Number of Quantity in Service Reports | Asset Tag Number | Alert Case
5737 | Building License | MOM License | Array Engineering & Facilties Management Pte Ltd | 2 Yearly | Compressor - Air Receiver, L2 Dental - 2, Kaeser Dental 3T, AR124244K, 1247 | Building License | PE Inspection / Submission | Test Site |  |  |  | 90 | 2022-02-24 | 2022-02-24 | [6 empty] | 0 | 0
5739 | Building License | MOM License | Array Engineering & Facilties Management Pte Ltd | 2 Yearly | Compressor - Air Receiver, L2 Dental - 4, Kaeser Dental 3T, AR124246A, 1249 | Building License | PE Inspection / Submission | Test Site |  |  |  | 90 | 2022-02-24 | 2022-02-24 | [6 empty] | 0 | 0
5740 | Building License | MOM License | Array Engineering & Facilties Management Pte Ltd | 2 Yearly | Compressor - Air Receiver, L2 Dental - 5, Kaeser Dental 3T, AR124247E, 1251 | Building License | PE Inspection / Submission | Test Site |  |  |  | 90 | 2022-02-24 | 2022-02-24 | [6 empty] | 0 | 0
5768 | Building License | MOM License | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inpsection on Lifting Hoist at L3 SP Room, LM592191L | Building License | PE Inspection / Submission | Test Site |  |  |  | 90 | 2022-02-23 | 2022-02-23 | [6 empty] | 0 | 0
5783 | Building License | Calibration Cert | Array Engineering & Facilties Management Pte Ltd | Half Yearly | Gas Detector BWS-N-Y (for Nitric Oxide used by OT) | Building License | Calibration | Test Site |  |  |  | 90 | 2022-02-21 | 2022-02-21 | [6 empty] | 0 | 0
5452 | Building | Door Frame | Test Company | Yearly | Otis Lift Servicing - CMBL1 | Mechanical | Servicing | Test Site | HQ |  |  |  | 2022-02-09 | 2022-02-10 | [6 empty] | 0 | 0 | test_01, test_site_01
5453 | Mechanical | AHU / FCU / CU | Test Company | Once | 09:00-12:00 Chiller Cleaning Services | Chiller Cleaning | Maintenance | Test Site |  |  |  |  | 2022-02-08 | 2022-02-08 | [6 empty] | 0 | 0 | FCU 1/HQ/L1, test_01
5469 | Building | Building Management System | Test Company | Daily | Cleaning Services | Cleaning | High Dusting - cobweb | Test Site |  |  |  | 2 | 2022-02-12 | 2022-02-15 | tuesday,friday | 2022-02-10 10:22:22 | 2022-02-10 10:22:39 | Wang Na |  |  | 0 | 0
5473 | Building License | Test Building License | Test Company | Daily | Cleaning Services | Cleaning | High Dusting - cobweb | Test Site |  |  |  | 2 | 2022-02-13 | 2022-02-16 | tuesday,friday | [5 empty] | 0 | 0
5476 | Building License | Test Building License | Test Company | Daily | Cleaning Services | Cleaning | High Dusting - cobweb | Test Site |  |  |  | 2 | 2022-02-14 | 2022-02-17 | tuesday,friday | [5 empty] | 0 | 0
5896 | Mechanical | AHU / FCU / CU | Test Company | Monthly | Air Conditioning System Maintenance | Maintenance | Checking and Testing | Test Site | HQ | Level 1 | 01 |  | 2022-02-09 | 2022-02-09 |  | 2022-02-12 11:47:32 |  |  |  |  | 0 | 0 | FCU 1/HQ/L1
6320 | Electrical | Standby Generator | Test Company | Weekly | Generator Servicing | Electrical | Servicing | Test Site | HQ | Level 1 | 01 | 3 | 2022-02-16 | 2022-02-16 |  | 2022-02-16 18:22:51 |  |  |  |  | 0 | 0 | Generator_test_01
6321 | Electrical | Standby Generator | Test Company | Weekly | Generator Servicing | Electrical | Servicing | Test Site | HQ |  |  |  | 2022-02-18 | 2022-02-18 |  | 2022-02-16 18:32:06 | 2022-02-16 18:33:42 | TO |  |  | 0 | 0 | Generator_test_01, Generator_test_02
6322 | Electrical | Standby Generator | Test Company | Weekly | Generator Servicing | Electrical | Servicing | Test Site | HQ |  |  |  | 2022-02-17 | 2022-02-17 |  | 2022-02-16 18:36:54 |  |  |  |  | 0 | 0 | Generator_test_01, Generator_test_02
6323 | Electrical | Standby Generator | Test Company | Weekly | Generator Servicing | Electrical | Servicing | Test Site | HQ |  |  |  | 2022-02-21 | 2022-02-21 | [6 empty] | 0 | 0
6324 | Electrical | Standby Generator | Test Company | Weekly | Generator Servicing | Electrical | Servicing | Test Site | HQ |  |  |  | 2022-02-22 | 2022-02-22 |  | 2022-02-16 18:42:06 | 2022-02-16 18:43:48 | TO |  |  | 0 | 0 | Generator_test_01, Generator_test_02
6457 | Building | Door | Test Company | Once | 02Cleaning Services | Cleaning | High Dusting - cobweb | Test Site |  |  |  |  | 2022-02-23 | 2022-02-23 |  | 2022-02-23 15:53:28 | 2022-02-23 15:54:37 | TO |  |  | 0 | 0
6478 | Building | Door | Test Company | Weekly | 3 mth before EMA License expiry (EBC) | Building License | Arranging LEW for renewing process | Test Site |  |  |  |  | 2022-02-28 | 2022-02-28 |  | 2022-02-28 14:39:30 | 2022-02-28 14:43:41 | TO |  |  | 0 | 0 | MDF SCBA, FCU 1/HQ/L1, test_01, test20052021
6116 | Building | Berg | Test Company | Once | 01New Test | Cleaning | High Dusting - cobweb | Test Site | HQ | Level 1 | 01 | 5 | 2022-02-15 | 2022-02-15 | [6 empty] | 0 | 0
6117 | Building | Door Stopper | Test Company | Once | 01New Build | Cleaning | High Dusting - cobweb | Test Site | HQ | Level 1 | 01 |  | 2022-02-15 | 2022-02-15 | [6 empty] | 0 | 0 | FCU 1/HQ/L1
4279 | Events | Talk / Planning Event / Training | Test Company |  | [10am - 7.45pm]Jumptopia at Bayfront Pavillion | Events | Jump | Gardens By The Bay (South) | Bayfront |  |  |  | 2021-12-20 | 2022-07-03 |  | 2021-12-20 13:22:40 |  |  |  |  | 0 | 0
5353 | Building | Structural | Ken-Pal Pte Ltd |  | [9am-9pm] Ken-Pal - Improvements works at Canopy Shuttle | Building | Works | Gardens By The Bay (South) | Canopy Hub |  |  |  | 2022-01-03 | 2022-03-15 |  | 2022-01-10 14:58:53 |  |  |  |  | 0 | 0
5364 | Building | Building External Surfaces | Ken-Pal Pte Ltd |  | [9am - 9pm]Kenpal - Mylo café external wall repair works | Building | Works | Gardens By The Bay (South) | Active Garden |  |  |  | 2022-01-03 | 2022-02-28 |  | 2022-01-13 11:50:22 |  |  |  |  | 0 | 0
5415 | Events | Event Setup | Test Company |  | [10am-10pm] -Disney Joy of Festival Pop-up Store | Events | Set-up | Gardens By The Bay (South) | Floral Fantasy | Level 1 | Retail Shop |  | 2022-01-31 | 2022-02-06 |  | 2022-02-01 10:33:59 | 2022-02-07 11:06:03 | Kashvin Kaur |  |  | 0 | 0
5417 | Events | Event Setup | Events Partner |  | [1pm-12pm] -Encounter Between Three Worlds Launch Event | Events | Launch | Gardens By The Bay (South) | Flower Dome | Level 1 | Flower Field Hall |  | 2022-02-04 | 2022-02-04 |  | 2022-02-04 09:08:38 | 2022-02-07 11:06:24 | Kashvin Kaur |  |  | 0 | 0
5427 | Mechanical | Water Fountain | Hitachi Aqua Tech Engineering Pte Ltd |  | [8am - 5pm]Hitachi Aqua - Maintenance servicing of CF water feature | Mechanical | Maintenance | Gardens By The Bay (South) | Cloud Forest |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-01 10:34:58 |  |  |  |  | 0 | 0
5436 | Building | Wall | Ken-Pal Pte Ltd |  | [8am - 10pm]Ken-Pal - Painting works & repair of wall cracks at CG | Building | Painting | Gardens By The Bay (South) | Children Garden |  |  |  | 2022-01-28 | 2022-02-05 |  | 2022-01-28 17:04:48 | 2022-02-07 11:07:07 | Kashvin Kaur |  |  | 0 | 0
5437 | Events | Workshop | Test Company |  | [10am - 11.30am]Bath Bomb Crafting Workshop by Bubbles n Scrubs at FF Gift shop | Events | Bath | Gardens By The Bay (South) | Floral Fantasy |  |  |  | 2022-02-26 | 2022-02-26 |  | 2022-02-28 10:35:44 | 2022-02-28 10:35:58 | Kashvin Kaur |  |  | 0 | 0
5438 | Mechanical | Air Conditioning System | Taikisha Pte Ltd |  | [8.30am - 10.30pm]Taikisha - LDCS Enhancement Work at CM | Mechanical | Enhancement | Gardens By The Bay (South) | Cloud Forest |  |  |  | 2022-02-04 | 2022-02-09 |  | 2022-02-04 09:10:02 | 2022-02-09 16:28:35 | Kashvin Kaur |  |  | 0 | 0
5439 | Mechanical | Air Conditioning System | Taikisha Pte Ltd |  | [8.30am - 10.30pm]Taikisha -Weekly maintenance and servicing of ACMV & BMS system | Mechanical | Maintenance | Gardens By The Bay (South) | Energy Centre |  |  |  | 2022-01-31 | 2022-02-06 |  | 2022-02-01 10:34:29 | 2022-02-07 11:06:45 | Kashvin Kaur |  |  | 0 | 0
5440 | Building Security System | VESDA System | Test Company |  | [9am - 6pm]Bes Tech - VESDA servicing & maintenance at FD and CF | Building Security System | Servicing | Gardens By The Bay (South) | Cloud Forest |  |  |  | 2022-02-24 | 2022-02-24 |  | 2022-02-25 13:36:35 | 2022-02-25 13:36:51 | Kashvin Kaur |  |  | 0 | 0
5441 | Mechanical | Buggy | Jebsen & Jessen Pte Ltd |  | [8am - 6pm]Jebsen & Jessen - Buggy servicing & repair | Mechanical | Servicing | Gardens By The Bay (South) | Service Tunnel |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-01 10:35:19 |  |  |  |  | 0 | 0
5442 | Building | Wall | Test Company |  | [8am - 7pm]Archilite Engineering - Supply and installation of full height glass barriers at the Koi Pond | Building | Installation | Gardens By The Bay (South) | Outdoor Area |  |  |  | 2022-02-07 | 2022-02-13 |  | 2022-02-08 11:11:01 | 2022-02-14 16:20:57 | Kashvin Kaur |  |  | 0 | 0
5443 | Events | Wedding | Test Company |  | [9am - 1pm]Wedding Solemnisation of Mr Htun Kyaw & Ms Shwe Wynn Wahr at FF | Events | Solemnisation | Gardens By The Bay (South) | Floral Fantasy |  |  |  | 2022-02-17 | 2022-02-17 |  | 2022-02-21 15:48:40 | 2022-02-21 15:50:24 | Kashvin Kaur |  |  | 0 | 0
5444 | Events | Workshop | Test Company |  | [7pm - 9pm]World Sound Healing Day at Waterfront Plaza | Events | Healing | Gardens By The Bay (South) | Active Garden |  |  |  | 2022-02-14 | 2022-02-14 |  | 2022-02-14 16:24:23 | 2022-02-14 16:24:37 | Kashvin Kaur |  |  | 0 | 0
5445 | Events | Wedding | Test Company |  | [4pm - 9pm]Wedding Solemnisation of Mr Yeo Zhan Yao, Morgan & Ms Lim Xiu Qi, Cheryl at Supertree Observatory | Events | Solemnization | Gardens By The Bay (South) | Supertree Grove |  |  |  | 2022-02-19 | 2022-02-19 |  | 2022-02-21 15:40:29 | 2022-02-21 15:40:53 | Kashvin Kaur |  |  | 0 | 0
5446 | Building | Structural | Ken-Pal Pte Ltd |  | [9am - 10pm]Ken-Pal - BMS upgrading works at BMS room | Building | Upgrading | Gardens By The Bay (South) | BMS Room |  |  |  | 2022-02-04 | 2022-02-28 |  | 2022-02-04 09:06:22 |  |  |  |  | 0 | 0
5447 | Electrical | Spike Light | Kurihara Kogyo Co. Ltd |  | [9am - 7.30pm]Kurihara - Installation of lights for display at South American Garden | Electrical | Installation | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-04 | 2022-02-11 |  | 2022-02-04 10:38:40 | 2022-02-11 15:51:16 | Kashvin Kaur |  |  | 0 | 0
5448 | Building | Structural | Test Company |  | [10am - 10pm]Techno CE - Construction of hoarding, concrete slab, drain, pipe at MRT site | Building | Construction | Gardens By The Bay (South) | Bayfront |  |  |  | 2022-02-07 | 2022-04-30 |  | 2022-02-07 11:02:42 |  |  |  |  | 0 | 0
5449 | Events | Workshop | Test Company |  | [10am - 6pm]Get Crafty! - Art for the Heart Drop-in Activity by Anjali Venkat (Anjali Design) at Australian Garden | Events | Activity | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-12 | 2022-02-13 |  | 2022-02-12 14:41:12 | 2022-02-14 16:23:21 | Kashvin Kaur |  |  | 0 | 0
5450 | Events | Wedding | Test Company |  | [5.30pm - 7.30pm]Wedding Proposal of Mr Maxkenzie Zhang at Supertree Observatory | Events | Proposal | Gardens By The Bay (South) | Supertree Grove |  |  |  | 2022-02-22 | 2022-02-22 |  | 2022-02-21 15:56:11 | 2022-02-21 15:56:29 | Kashvin Kaur |  |  | 0 | 0
5451 | Building | Building External Surfaces | Ken-Pal Pte Ltd |  | (9am - 10pm]Ken-Pal - Bench pebble wash works at Bayfront Pavillion | Building | Proposal | Gardens By The Bay (South) | Bayfront |  |  |  | 2022-02-07 | 2022-02-15 |  | 2022-02-07 16:18:23 | 2022-02-15 11:20:34 | Kashvin Kaur |  |  | 0 | 0
5454 | Building | Building External Surfaces | Ken-Pal Pte Ltd |  | (9am - 6pm]Ken-Pal - Painting works at CG | Building | Painting | Gardens By The Bay (South) | Children Garden |  |  |  | 2022-02-08 | 2022-02-20 |  | 2022-02-08 11:10:03 | 2022-02-21 11:33:06 | Kashvin Kaur |  |  | 0 | 0
5455 | Electrical | LED Lights | Kurihara Kogyo Co. Ltd |  | (8am - 9pm]Kurihara - Replacement of downlight at Function Hall | Electical | Replacement | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-09 | 2022-02-15 |  | 2022-02-08 14:57:52 | 2022-02-15 11:11:49 | Kashvin Kaur |  |  | 0 | 0
5456 | Events | Audio / Video | Electronics & Engineering |  | (8.30am - 6pm]E&E - Audio visual maintenance at Supertree & CG | Events | Maintenance | Gardens By The Bay (South) | Children Garden |  |  |  | 2022-02-09 | 2022-02-09 |  | 2022-02-09 16:22:34 | 2022-02-09 16:26:02 | Kashvin Kaur |  |  | 0 | 0
5457 | Mechanical | Rain Curtain | ST Engineering Ltd |  | (8pm - 11pm]ST Engineering - RWC, kinetic & projector maintenance at FF | Mechanical | Maintenance | Gardens By The Bay (South) | Floral Fantasy |  |  |  | 2022-02-09 | 2022-02-28 |  | 2022-02-09 16:25:02 |  |  |  |  | 0 | 0
5458 | Events | Wedding | Test Company |  | [11.30am - 4.30pm]Wedding Solemnization of Mr Nathan Siaw and Ms Jacqueline Koh | Events | Solemnisation | Gardens By The Bay (South) | Flower Dome | Level 1 | Flower Field Hall |  | 2022-02-20 | 2022-02-20 |  | 2022-02-21 15:10:09 | 2022-02-21 15:10:26 | Kashvin Kaur |  |  | 0 | 0
5462 | Telecommunication | Wireless | M1 |  | (9am - 5pm]Soon Poh - M1 integration and IPV testing at MDF room at SBTB | Telecommunication | Integration | Gardens By The Bay (South) | Satay By the Bay |  |  |  | 2022-02-16 | 2022-02-23 |  | 2022-02-16 15:58:43 | 2022-02-23 14:58:10 | Kashvin Kaur |  |  | 0 | 0
5463 | Building | Building External Surfaces | Test Company |  | [11.59pm - 6am]Repair and Resurfacing works at Coach carpark | Building | Works | Gardens By The Bay (South) | Coach Park |  |  |  | 2022-02-15 | 2022-02-17 |  | 2022-02-16 15:59:10 | 2022-02-17 12:39:43 | Kashvin Kaur |  |  | 0 | 0
5793 | Building | Bench | Test Company |  | [9am-6pm] AD Zublin - Transfer of Bench Marks from PCN to Zublin TOL Area | Building | Transfer | Gardens By The Bay (East) | Park Connector |  |  |  | 2022-02-14 | 2022-02-18 |  | 2022-02-15 11:28:57 | 2022-02-18 11:23:21 | Kashvin Kaur |  |  | 0 | 0
5794 | Building | Structural | Ken-Pal Pte Ltd |  | [9am-6am]Ken-Pal - Upgrading works at Masagung bridge | Building | Upgrade | Gardens By The Bay (South) | Dragonfly Lake |  |  |  | 2022-02-11 | 2022-02-15 |  | 2022-02-11 18:20:04 | 2022-02-15 11:24:07 | Kashvin Kaur |  |  | 0 | 0
5897 | Building | Structural | Ken-Pal Pte Ltd |  | [8am-10pm]Ken-Pal - Screeding worksfor floor at CD 5 | Building | Screeding | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-14 | 2022-02-21 |  | 2022-02-21 16:00:45 | 2022-02-21 16:01:02 | Kashvin Kaur |  |  | 0 | 0
5898 | Building | Structural | Ken-Pal Pte Ltd |  | [9am-10pm]Ken-Pal - Improvement works at nursery room at CG and Arrival | Building | Improvement | Gardens By The Bay (South) | Children Garden |  |  |  | 2022-02-14 | 2022-02-19 |  | 2022-02-15 11:24:47 | 2022-02-21 15:51:41 | Kashvin Kaur |  |  | 0 | 0
5899 | Mechanical | Water Fountain | Christensen Irrigation Pte Ltd |  | [7.30am-5.30pm]Christensen - Irrigation maintenance works at CM tree fern and mountain area | Mechanical | Mainenance | Gardens By The Bay (South) | Cloud Forest |  |  |  | 2022-02-15 | 2022-02-15 |  | 2022-02-15 11:21:02 | 2022-02-16 15:57:39 | Kashvin Kaur |  |  | 0 | 0
5900 | Telecommunication | Wireless | Singtel |  | [10am-5pm]Singtel - Optic fibre cable testing and migration works related to the MDF room demolition project | Telecommunication | Testing | Gardens By The Bay (South) | Energy Centre |  |  |  | 2022-02-03 | 2022-03-31 |  | 2022-02-14 16:00:05 |  |  |  |  | 0 | 0
5901 | Building | Signage | Fuji Signcrafts Industries Pte Ltd |  | [9am - 9pm]Fuji Signcrafts - General work maintenance - changing of directional signage, replacement of circuit, stickers | Building | Testing | Gardens By The Bay (South) | Outdoor Area |  |  |  | 2022-02-15 | 2022-02-22 |  | 2022-02-16 16:05:52 | 2022-02-21 15:53:42 | Kashvin Kaur |  |  | 0 | 0
5902 | Mechanical | Air Conditioning System | Taikisha Pte Ltd |  | [8.30am - 10pm]Taikisha - Weekly maintenance and servicing of ACMV and BMS system | Mechanical | Maintenance | Gardens By The Bay (South) | Energy Centre |  |  |  | 2022-02-14 | 2022-02-20 |  | 2022-02-14 17:37:24 | 2022-02-21 15:48:16 | Kashvin Kaur |  |  | 0 | 0
5903 | Electrical | Cable and Trunking | SMM Pte Ltd |  | [9am - 6pm]SMM M&E - Electrical PM servicing for Baysouth | Electrical | Maintenance | Gardens By The Bay (South) | Energy Centre |  |  |  | 2022-02-14 | 2022-02-28 |  | 2022-02-14 17:57:46 |  |  |  |  | 0 | 0
5904 | Mechanical | Fire Alarm / Detection System | Firetronics Pte Ltd |  | [9am - 7pm]Firetronics - Fire alarm system maintenance & replacement works | Mechanical | Maintenance | Gardens By The Bay (South) | Energy Centre |  |  |  | 2022-02-15 | 2022-02-19 |  | 2022-02-16 16:05:23 | 2022-02-21 15:50:54 | Kashvin Kaur |  |  | 0 | 0
5905 | Building | Door | Classic Access Control Pte Ltd |  | [9am - 5pm]Classic Access - MONTHLY PREVENTIVE MAINTENANCE AND SERVICING FOR AUTOMATIC DOORS | Building | Servicing | Gardens By The Bay (South) | Floral Fantasy |  |  |  | 2022-02-16 | 2022-02-16 |  | 2022-02-16 16:03:26 | 2022-02-16 16:04:53 | Kashvin Kaur |  |  | 0 | 0
5906 | Building | Door | Classic Access Control Pte Ltd |  | [9am - 5pm]Classic Access - MONTHLY PREVENTIVE MAINTENANCE AND SERVICING FOR AUTOMATIC DOORS | Building | Servicing | Gardens By The Bay (South) | Floral Fantasy | Level 1 | Retail Shop |  | 2022-02-16 | 2022-02-16 |  | 2022-02-16 16:03:48 | 2022-02-16 16:04:23 | Kashvin Kaur |  |  | 0 | 0
5907 | Events | Event Setup | Test Company |  | [10am-6pm]The Plantsman’s Fair | Events | Set-up | Gardens By The Bay (South) | Floral Fantasy | Level 1 | Retail Shop |  | 2022-02-19 | 2022-02-19 |  | 2022-02-21 11:33:37 | 2022-02-21 11:33:58 | Kashvin Kaur |  |  | 0 | 0
5908 | Telecommunication | Wireless | Singtel |  | [10am-5pm]Singtel-Chargers are already old need to be upgraded so that it can support future power shutdown | Telecommunication | Testing | Gardens By The Bay (South) | Energy Centre |  |  |  | 2022-02-11 | 2022-02-16 |  | 2022-02-16 16:01:23 | 2022-02-16 16:01:45 | Kashvin Kaur |  |  | 0 | 0
5909 | Electrical | Spike Light | Kurihara Kogyo Co. Ltd |  | [8.30am - 6pm]Kurihara - Check continuity of light control cable at Hub, Pollen, FCC and Magnolia room | Electrical | Cheking | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-15 | 2022-02-18 |  | 2022-02-15 10:04:07 | 2022-02-18 10:32:24 | Kashvin Kaur |  |  | 0 | 0
6112 | Building Security System | Handicapped Platform Lift | Ken-Jo Industries Pte Ltd |  | [10am - 5pm]Ken-Jo - Monthly PM for handicap lift at FFH | Building Security System | Maintenance | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-17 | 2022-02-18 |  | 2022-02-17 11:17:57 | 2022-02-18 10:31:54 | Kashvin Kaur |  |  | 0 | 0
6113 | Building Security System | Handicapped Platform Lift | Ken-Jo Industries Pte Ltd |  | [10am - 5pm]Ken-Jo - Monthly PM for handicap lift at FFH | Building Security System | Maintenance | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-17 | 2022-02-18 |  | 2022-02-17 11:23:09 | 2022-02-18 10:31:30 | Kashvin Kaur |  |  | 0 | 0
6114 | Mechanical | Pump | SMM Pte Ltd |  | [9am - 6pm]SMM M&E - Pump servicing for Baysouth | Mechanical | Servicing | Gardens By The Bay (South) | Outdoor Area |  |  |  | 2022-02-14 | 2022-02-28 |  | 2022-02-15 11:02:51 |  |  |  |  | 0 | 0
6325 | Electrical | Cable and Trunking | Kurihara Kogyo Co. Ltd |  | [8am - 7pm]Kurihara - Installation and cabling works at West Lawn | Electrical | Installation | Gardens By The Bay (South) | Outdoor Area |  |  |  | 2022-02-20 | 2022-03-20 | [6 empty] | 0 | 0
6326 | Electrical | Cable and Trunking | Test Company |  | [9.30am - 5.30pm]TGM Global - Retermination of CAT6 UTP, configuration and troubleshooting of router at CD HT switchroom | Electrical | Configuration | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-17 | 2022-02-23 |  | 2022-02-17 15:18:15 | 2022-02-26 11:55:13 | Kashvin Kaur |  |  | 0 | 0
6433 | Building | Structural | Ken-Pal Pte Ltd |  | [4pm - 10pm]Ken-Pal - Dismantling of basin at CG and Arrival nursing room | Building | Dismantling | Gardens By The Bay (South) | Children Garden |  |  |  | 2022-02-17 | 2022-02-19 |  | 2022-02-17 17:09:15 | 2022-02-21 15:19:11 | Kashvin Kaur |  |  | 0 | 0
6434 | Events | Wedding | Test Company |  | [10am - 12pm]Wedding Proposal of Mr Jordan Reinhardt at Supertree Observatory | Events | Proposal | Gardens By The Bay (South) | Supertree Grove |  |  |  | 2022-02-27 | 2022-02-27 |  | 2022-02-28 10:38:10 | 2022-02-28 10:57:36 | Kashvin Kaur |  |  | 0 | 0
6435 | Events | Audio / Video | Test Company |  | [3.30pm - 5.30pm]Launch of Green Guardians and Weird But True at FFH & Crystal Mountain | Events | Launch | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-22 | 2022-02-22 |  | 2022-02-21 15:54:32 | 2022-02-21 15:55:25 | Kashvin Kaur |  |  | 0 | 0
6436 | Building | Structural | Universal Displays Pte Ltd |  | [10pm - 5am]Universal Displays - Dismantle banners on pillars and lamp posts at Canopy & Collonade pillars | Building | Dismantle | Gardens By The Bay (South) | Canopy Hub |  |  |  | 2022-02-20 | 2022-02-21 |  | 2022-02-21 15:57:03 | 2022-02-21 15:57:19 | Kashvin Kaur |  |  | 0 | 0
6437 | Electrical | Lamp Post | SMM Pte Ltd |  | [9pm - 6pm]SMM M&E - Installation of new lamp post light fittings at Bay East | Electrical | Installation | Gardens By The Bay (East) | Park Connector |  |  |  | 2022-02-21 | 2022-02-25 |  | 2022-02-22 15:08:16 | 2022-02-26 15:25:34 | Kashvin Kaur |  |  | 0 | 0
6438 | Building | Window | Test Company |  | [10m - 2pm]AEG - Shade maintenance at FD LT switch room | Building | Maintenance | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-19 | 2022-02-25 |  | 2022-02-19 15:24:21 | 2022-02-26 11:54:45 | Kashvin Kaur |  |  | 0 | 0
6439 | Building Security System | VESDA System | Test Company |  | [9am - 6pm]BES Tech - VESDA servicing & maintenance work at FD & CF | Building Security System | Servicing | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-22 | 2022-02-22 |  | 2022-02-21 15:52:42 | 2022-02-21 15:52:57 | Kashvin Kaur |  |  | 0 | 0
6440 | Mechanical | Kitchen Exhaust Hood System | Test Company |  | [1pm - 5pm]Thurst Enterprise - Servicing of kitchen equipment at Conservatory Café | Mechanical | Servicing | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-18 | 2022-02-24 |  | 2022-02-21 10:45:30 | 2022-02-25 11:57:55 | Kashvin Kaur |  |  | 0 | 0
6441 | Building | Structural | Ken-Pal Pte Ltd |  | [9am - 6pm]Ken-Pal - Painting works at CG | Building | Painting | Gardens By The Bay (South) | Children Garden |  |  |  | 2022-02-08 | 2022-02-28 |  | 2022-02-21 11:27:40 |  |  |  |  | 0 | 0
6442 | Building | Structural | Ken-Pal Pte Ltd |  | [9am - 6pm]Ken-Pal - Railing installation at Bin Centre | Building | Installation | Gardens By The Bay (South) | Energy Centre |  |  |  | 2022-02-21 | 2022-02-25 |  | 2022-02-21 11:28:44 | 2022-02-26 14:26:52 | Kashvin Kaur |  |  | 0 | 0
6444 | Cleaning | Partitions | BNL Pte Ltd |  | [9am - 9pm]BNL Services - External façade cleaning at FD & CF | Cleaning | Cleaning | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-21 | 2022-03-21 |  | 2022-02-21 18:16:23 |  |  |  |  | 0 | 0
6446 | Electrical | LED Lights | Kurihara Kogyo Co. Ltd |  | [8am - 7pm]Kurihara - Programming for adjust the timing of light, replacement of faulty module and steep light installation at FF | Electrical | Replacement | Gardens By The Bay (South) | Floral Fantasy |  |  |  | 2022-02-22 | 2022-02-28 |  | 2022-02-22 13:13:22 |  |  |  |  | 0 | 0
6447 | Building | Structural | Ken-Pal Pte Ltd |  | [9am - 6pm]Kenpal - Painting at Supertree & Golden Garden | Building | Painting | Gardens By The Bay (South) | Supertree Grove |  |  |  | 2022-02-22 | 2022-05-31 |  | 2022-02-22 13:24:51 |  |  |  |  | 0 | 0
6449 | Mechanical | Air Conditioning System | Taikisha Pte Ltd |  | [8.30am - 10pm]Taikisha - Weekly maintenance and servicing for ACMV & BMS system | Taikisha | Mechanical | Gardens By The Bay (South) | Energy Centre |  |  |  | 2022-02-21 | 2022-02-27 |  | 2022-02-28 10:34:46 | 2022-02-28 10:35:08 | Kashvin Kaur |  |  | 0 | 0
6450 | Mechanical | Air Conditioning System | Taikisha Pte Ltd |  | [8.30am - 10pm]Taikisha - Weekly maintenance and servicing for ACMV & BMS system | Taikisha | Mechanical | Gardens By The Bay (South) | Energy Centre |  |  |  | 2022-02-21 | 2022-02-27 |  | 2022-02-22 14:34:50 | 2022-02-28 11:07:30 | Kashvin Kaur |  |  | 0 | 0
6451 | Telecommunication | Wireless | Singtel |  | [9am - 6pm]Singtel - Fiber patching & testing at Meadows Substation (M1 Base Station) | Telecommunication | Patching | Gardens By The Bay (South) | Meadow |  |  |  | 2022-02-22 | 2022-02-26 |  | 2022-02-22 14:56:25 | 2022-02-28 10:32:09 | Kashvin Kaur |  |  | 0 | 0
6452 | Electrical | Cable and Trunking | SMM Pte Ltd |  | [9am - 6pm]SMM M&E - Replacement of protection relays for outdoor Ogs at Meadow/Padang | Electrical | Replacement | Gardens By The Bay (South) | Meadow |  |  |  | 2022-02-21 | 2022-02-23 |  | 2022-02-22 15:26:59 | 2022-02-23 15:00:01 | Kashvin Kaur |  |  | 0 | 0
6458 | Electrical | Spike Light | Test Company |  | [8am - 7.30pm]Kurihara - Replacement MCC for globe lights at FFH | Electrical | Replacement | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-23 | 2022-03-02 |  | 2022-02-23 11:35:22 |  |  |  |  | 0 | 0
6459 | Building | Window | Test Company |  | [10am - 5pm]AEG - Shade maintenance at FD LT switch room | Building | Maintenance | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-26 | 2022-03-04 | [6 empty] | 0 | 0
6460 | Building | Structural | Ken-Pal Pte Ltd |  | [9am - 6pm]Ken-Pal - Leveling of road works at Bay East | Building | Maintenance | Gardens By The Bay (East) | Park Connector |  |  |  | 2022-02-22 | 2022-02-25 |  | 2022-02-23 12:15:54 | 2022-02-26 14:16:13 | Kashvin Kaur |  |  | 0 | 0
6461 | Mechanical | Rain Curtain | ST Engineering Ltd |  | [9am - 1pm]ST Engineering - Projector maintenance at Floral Fantasy | Mechanical | Maintenance | Gardens By The Bay (South) | Floral Fantasy |  |  |  | 2022-02-24 | 2022-02-24 |  | 2022-02-25 13:47:32 | 2022-02-26 14:06:08 | Kashvin Kaur |  |  | 0 | 0
6462 | Mechanical | Lift System | Test Company |  | [10am - 5pm]International Testing - Servicing of Lehner platform lift at FD | Mechanical | Servicing | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-25 | 2022-02-25 |  | 2022-02-26 11:54:01 | 2022-02-26 11:54:16 | Kashvin Kaur |  |  | 0 | 0
6463 | Building | Signage | Fuji Signcrafts Industries Pte Ltd |  | [10am - 10pm]Fuji Signcrafts - Signage general work maintenance at GBB/BE | Building | Maintenance | Gardens By The Bay (South) | Outdoor Area |  |  |  | 2022-02-25 | 2022-03-04 | [6 empty] | 0 | 0
6464 | Mechanical | Fire Alarm / Detection System | Firetronics Pte Ltd |  | [9am - 7pm]Firetronics - Fire alarm system replacement works | Mechanical | Replacement | Gardens By The Bay (South) | Outdoor Area |  |  |  | 2022-02-25 | 2022-02-26 |  | 2022-02-28 10:32:36 | 2022-02-28 10:32:53 | Kashvin Kaur |  |  | 0 | 0
6465 | Building | Bollard | Ken-Pal Pte Ltd |  | [9am - 6pm]Ken-Pal - Bollard repairing works at Service Road guard house | Building | Repairing | Gardens By The Bay (South) | Service Road |  |  |  | 2022-02-25 | 2022-02-28 |  | 2022-02-25 09:50:13 |  |  |  |  | 0 | 0
6466 | Building | Structural | Ken-Pal Pte Ltd |  | [9am - 6pm]Ken-Pal - Façade glass cleaning and nano coat at CM | Building | Coating | Gardens By The Bay (South) | Cloud Forest |  |  |  | 2022-02-25 | 2022-03-05 |  | 2022-02-25 11:13:58 |  |  |  |  | 0 | 0
6467 | Building | Pipe | Ken-Pal Pte Ltd |  | [9am - 6pm]Ken-Pal - Installation of pipes at BE | Building | Coating | Gardens By The Bay (East) | Park Connector |  |  |  | 2022-02-24 | 2022-02-28 |  | 2022-02-25 11:53:43 |  |  |  |  | 0 | 0
6468 | Electrical | Lamp Post | Kurihara Kogyo Co. Ltd |  | [8.30am - 5.30pm]Kurihara - Replacement of 6m of lamp fixture at Scented Walk | Electrical | Replacement | Gardens By The Bay (South) | Meadow |  |  |  | 2022-02-26 | 2022-03-01 | [6 empty] | 0 | 0
6469 | Building | Floor Trap | Test Company |  | [8.30am - 6pm]Wong Fong Engineering - Waste machine installation works at Bin Centre | Building | Replacement | Gardens By The Bay (South) | Energy Centre |  |  |  | 2022-02-28 | 2022-03-01 | [6 empty] | 0 | 0
6474 | Mechanical | Lift System | Test Company |  | [10am - 5pm]International Testing - Servicing of Lehner Platform Lift located at Flower Dome | Mechanical | Servicing | Gardens By The Bay (South) | Flower Dome |  |  |  | 2022-02-28 | 2022-02-28 | [6 empty] | 0 | 0
6475 | Events | Audio / Video | Electronics & Engineering |  | [9am-6pm]-Sound System Diagnostic | Events | Maintenance | Gardens By The Bay (South) | Floral Fantasy |  |  |  | 2022-02-28 | 2022-03-04 | [6 empty] | 0 | 0
4370 | Building | Room | Array Engineering & Facilties Management Pte Ltd | Quarterly | Consultation Room L8, 10, 12: Group 2 | Building | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-28 10:16:45 | 2022-02-28 10:17:27 | Murugan |  |  | 0 | 0
4396 | Building Security System | CCTV System | Array Engineering & Facilties Management Pte Ltd | Quarterly | CCTV System | Building Security System | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-25 17:02:28 | 2022-02-25 17:19:34 | Rajendran Manikandan |  |  | 0 | 0
4408 | Electrical | Call System | Array Engineering & Facilties Management Pte Ltd | Quarterly | Doctor Call System L2,8,10: Group 2 | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-22 10:23:14 | 2022-02-22 10:24:43 | Arasan Balasubramanian |  |  | 0 | 0
4418 | Electrical | Distribution Boards | Array Engineering & Facilties Management Pte Ltd | Half Yearly | Electrical DBs L8-14: Group 2 | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-22 10:27:42 | 2022-02-22 10:28:11 | Arasan Balasubramanian |  |  | 0 | 0
4426 | Electrical | Standby Generator | Array Engineering & Facilties Management Pte Ltd | Monthly | Fuel Tank (Diesel) & Control Panel | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-28 10:51:46 | 2022-02-28 10:52:49 | Li Fei |  |  | 0 | 0
4438 | Electrical | Standby Generator | Array Engineering & Facilties Management Pte Ltd | Weekly | Generators (No Load Test 15 min) | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-21 11:36:18 | 2022-02-25 14:38:36 | Li Fei |  |  | 0 | 0
4452 | Electrical | Standby Generator | Array Engineering & Facilties Management Pte Ltd | Monthly | Generator & Fuel Pump | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-27 10:09:43 | 2022-02-27 10:10:55 | Packiyaraj |  |  | 0 | 0
4467 | Electrical | Call System | Array Engineering & Facilties Management Pte Ltd | Quarterly | Nurse Call System | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-25 17:39:51 | 2022-02-26 10:35:16 | Packiyaraj |  |  | 0 | 0
4472 | Electrical | PA System | Array Engineering & Facilties Management Pte Ltd | Monthly | Public Address System | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-10 09:57:43 | 2022-02-10 09:58:32 | Li Fei |  |  | 0 | 0
4488 | Electrical | UPS | Array Engineering & Facilties Management Pte Ltd | Monthly | Uninterrupted Power Supply UPS | Electrical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-10 12:51:22 | 2022-02-10 12:53:03 | Arasan Balasubramanian |  |  | 0 | 0
4602 | Medical Equipment | Baby Cot | Array Engineering & Facilties Management Pte Ltd | Half Yearly | Baby Cot | Medical Equipment | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-28 10:07:05 | 2022-02-28 10:13:15 | Murugan |  |  | 0 | 0
4634 | Medical Equipment | Fridges & Freezers | Array Engineering & Facilties Management Pte Ltd | Quarterly | Fridges & Freezers: L1 - L2, L10-L13: Group 1 | Medical Equipment | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-27 01:29:38 | 2022-02-28 09:43:17 | Muthu Sathasivam |  |  | 0 | 0
4655 | Medical Equipment | Medical Gas | Array Engineering & Facilties Management Pte Ltd | Half Yearly | Medical Gas, Terminal, Zone Wall Unit L1, 2, 7: Group 1 | Medical Equipment | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-13 11:01:26 | 2022-02-21 09:19:05 | Muthu Shanmugavelu |  |  | 0 | 0
4666 | Medical Equipment | OT Surgeon Panel | Array Engineering & Facilties Management Pte Ltd | Monthly | OT Surgeon Panel | Medical Equipment | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-13 11:00:57 | 2022-02-13 11:38:36 | Muthu Shanmugavelu |  |  | 0 | 0
4678 | Medical Equipment | Patient Bed | Array Engineering & Facilties Management Pte Ltd | Half Yearly | Patient Bed L7, 8, 9: Group 1 | Medical Equipment | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-28 10:20:59 | 2022-02-28 10:22:47 | Murugan |  |  | 0 | 0
4702 | Plumbing & Sanitary | Emergency Shower | Array Engineering & Facilties Management Pte Ltd | Monthly | Emergency Shower in Histology Lab | Plumbing & Sanitary | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-09 17:06:44 | 2022-02-09 17:07:02 | Muthu Shanmugavelu |  |  | 0 | 0
4722 | Plumbing & Sanitary | Floor trap | Array Engineering & Facilties Management Pte Ltd | Quarterly | Floor Trap Inspection: L8-L15: Group 2 | Plumbing & Sanitary | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-23 12:07:03 | 2022-02-23 12:07:33 | Muthu Shanmugavelu |  |  | 0 | 0
4731 | Plumbing & Sanitary | Hot Water System | Array Engineering & Facilties Management Pte Ltd | Monthly | Heat Machine | Plumbing & Sanitary | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-21 08:48:13 | 2022-02-21 08:48:45 | Muthu Shanmugavelu |  |  | 0 | 0
4755 | Plumbing & Sanitary | Water Tank | Array Engineering & Facilties Management Pte Ltd | Monthly | Water Tank Visual Inspection at RH (L4, 15), RSC (L5, RT) | Plumbing & Sanitary | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-05 09:34:33 | 2022-02-09 17:05:37 | Muthu Shanmugavelu |  |  | 0 | 0
5042 | Mechanical | Split Unit | Array Engineering & Facilties Management Pte Ltd | Monthly | Air Con Split Unit | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-09 09:24:32 | 2022-02-27 21:00:49 | Muthu Sathasivam |  |  | 0 | 0
5054 | Mechanical | AHU / FCU / CU | Array Engineering & Facilties Management Pte Ltd | Monthly | Air Handling Unit AHU | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-09 09:20:28 | 2022-02-27 01:27:15 | Muthu Sathasivam |  |  | 0 | 0
5066 | Mechanical | Air Purifier | Array Engineering & Facilties Management Pte Ltd | Monthly | Air Purifier at Histology, Cytology, BMT Wards | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-27 01:30:43 | 2022-02-27 20:53:07 | Muthu Sathasivam |  |  | 0 | 0
5084 | Mechanical | Autodoor | Array Engineering & Facilties Management Pte Ltd | Quarterly | Auto Sliding Door for OR1-7: Group 2 | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-13 09:18:54 | 2022-02-13 16:57:43 | Rajendran Manikandan |  |  | 0 | 0
5097 | Mechanical | BMS / BAS | Array Engineering & Facilties Management Pte Ltd | Quarterly | Building Management System by Honeywell | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-23 15:36:14 | 2022-02-23 15:42:23 | Muthu Sathasivam |  |  | 0 | 0
5103 | Mechanical | Chiller(Carrier) | Array Engineering & Facilties Management Pte Ltd | Half Yearly | Chilled Water Piping System L7-RT: Group 2 | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-09 09:19:33 | 2022-02-22 00:59:25 | Muthu Sathasivam |  |  | 0 | 0
5106 | Mechanical | Chilled Water Pumpset | Array Engineering & Facilties Management Pte Ltd | Monthly | Chilled Water Pump | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-09 09:18:41 | 2022-02-24 20:33:39 | Muthu Sathasivam |  |  | 0 | 0
5118 | Mechanical | Chiller(Carrier) | Array Engineering & Facilties Management Pte Ltd | Monthly | Chiller System (Carrier) | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-13 11:40:47 | 2022-02-19 09:29:52 | Muthu Sathasivam |  |  | 0 | 0
5134 | Mechanical | Lift & Escalators | Array Engineering & Facilties Management Pte Ltd | Monthly | Elevator & Escalator System by Fujitech | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-14 10:59:01 | 2022-02-21 09:19:54 | Li Fei |  |  | 0 | 0
5146 | Mechanical | Lift & Escalators | Array Engineering & Facilties Management Pte Ltd | Monthly | Elevator & Escalator System by Schindler | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-17 15:10:50 | 2022-02-17 15:11:13 | Li Fei |  |  | 0 | 0
5158 | Mechanical | AHU / FCU / CU | Array Engineering & Facilties Management Pte Ltd | Monthly | Fan Coil Unit FCU | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-09 09:11:47 | 2022-02-25 17:06:55 | Muthu Sathasivam |  |  | 0 | 0
5170 | Mechanical | Fire Protection System | Array Engineering & Facilties Management Pte Ltd | Monthly | Fire Fighting System - PPE for CERT (FCC) | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-07 17:48:35 | 2022-02-07 17:48:55 | Muthu Shanmugavelu |  |  | 0 | 0
5186 | Mechanical | Fire Extinguisher | Array Engineering & Facilties Management Pte Ltd | Quarterly | Fire Fighting System - Fire Extinguisher L8-14 | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-08 18:08:58 | 2022-02-21 17:03:31 | Muthu Shanmugavelu |  |  | 0 | 0
5202 | Mechanical | Hosereel and Hosereel Pump | Array Engineering & Facilties Management Pte Ltd | Monthly | Fire Fighting System - Inspection for Hosereel, Dry and Wet Risers | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-08 18:09:46 | 2022-02-13 11:03:06 | Muthu Shanmugavelu |  |  | 0 | 0
5214 | Mechanical | Pre-action / Sprinkler | Array Engineering & Facilties Management Pte Ltd | Monthly | Fire Fighting System - Pre-action/Sprinkler (B2, L11 Radiology) | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-13 10:59:12 | 2022-02-13 11:00:13 | Muthu Shanmugavelu |  |  | 0 | 0
5225 | Mechanical | Fire Protection System | Array Engineering & Facilties Management Pte Ltd | Quarterly | Fire Fighting System - Water Monitoring System at L19 | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-24 17:26:43 | 2022-02-24 17:27:36 | Li Fei |  |  | 0 | 0
5230 | Mechanical | Fire Alarm / Detection System | Array Engineering & Facilties Management Pte Ltd | Monthly | Fire Alarm System - Fire Alarm System by GIB | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-05 09:32:34 | 2022-02-05 16:27:51 | Muthu Shanmugavelu |  |  | 0 | 0
5269 | Mechanical | Lift / Crane Hoist - Passenger / Goods Lift | Array Engineering & Facilties Management Pte Ltd | Yearly | Lifting Hoist at L3 SP Power Station - PE Inspection | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-07 14:39:52 | 2022-02-07 14:42:18 | Li Fei |  |  | 0 | 0
5271 | Mechanical | Mechanical Ventilation | Array Engineering & Facilties Management Pte Ltd | Monthly | Mechanical Ventilation System for FAF, EAF, SPF | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-27 01:28:29 | 2022-02-27 21:30:14 | Muthu Sathasivam |  |  | 0 | 0
5286 | Mechanical | Pump | Array Engineering & Facilties Management Pte Ltd | Quarterly | Pumps for Plumbing & Sanitary System | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-07 17:47:52 | 2022-02-08 18:08:21 | Muthu Shanmugavelu |  |  | 0 | 0
5297 | Mechanical | Cooling Tower | Array Engineering & Facilties Management Pte Ltd | Monthly | Water Sampling Test for Cooling Tower on Standard Platecount | Mechanical | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-25 10:52:53 | 2022-02-25 10:55:02 | Muthu Sathasivam |  |  | 0 | 0
6327 | Building License | Lift PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Lift 01 L063080/PL1 (Schindler) | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-28 17:14:44 | 2022-02-28 17:15:36 | Li Fei |  |  | 0 | 0
6328 | Building License | Lift PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Lift 02 L063081/PL2 (Schindler) | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-28 17:16:22 | 2022-02-28 17:17:26 | Li Fei |  |  | 0 | 0
6329 | Building License | Lift PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Lift 03 L063082/PL3 (Schindler) | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-28 17:18:12 | 2022-02-28 17:18:33 | Li Fei |  |  | 0 | 0
6330 | Building License | Lift PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Lift 04 L063083/PL4 (Schindler) | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-28 17:24:33 | 2022-02-28 17:25:09 | Li Fei |  |  | 0 | 0
6331 | Building License | Lift PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Lift 05 L063084/PL5 (Schindler) | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-28 17:25:49 | 2022-02-28 17:26:22 | Li Fei |  |  | 0 | 0
6332 | Building License | Lift PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Lift 06 L063085/PL6 (Schindler) | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-28 17:27:02 | 2022-02-28 17:27:28 | Li Fei |  |  | 0 | 0
6333 | Building License | Lift PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Lift 07 L063086/PL7 (Schindler) | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-28 17:30:48 | 2022-02-28 17:31:18 | Li Fei |  |  | 0 | 0
6334 | Building License | Lift PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Lift 08 L063087/PL8 (Schindler) | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-28 17:32:03 | 2022-02-28 17:32:23 | Li Fei |  |  | 0 | 0
6335 | Building License | Lift PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Lift 09 L063088/BD1 (Schindler) | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-28 17:32:54 | 2022-02-28 17:33:24 | Li Fei |  |  | 0 | 0
6336 | Building License | Lift PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Lift 10 L063089/BD2 (Schindler) | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-28 17:33:56 | 2022-02-28 17:34:27 | Li Fei |  |  | 0 | 0
6337 | Building License | Lift PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Lift 11 L063090/BD3 (Schindler) | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-28 17:35:14 | 2022-02-28 17:36:11 | Li Fei |  |  | 0 | 0
6338 | Building License | Escalator PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Escalator 5 E05857 (Fujitec) ES05 | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-17 16:10:43 | 2022-02-17 16:11:07 | Li Fei |  |  | 0 | 0
6339 | Building License | Escalator PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Escalator 6 E05856 (Fujitec) ES06 | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-17 16:11:55 | 2022-02-17 16:12:22 | Li Fei |  |  | 0 | 0
6340 | Building License | Escalator PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Escalator 7 E05858 (Fujitec) ES07 | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-17 16:13:13 | 2022-02-17 16:13:35 | Li Fei |  |  | 0 | 0
6341 | Building License | Escalator PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Escalator 8 E05859 (Fujitec) ES08 | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-17 16:14:28 | 2022-02-17 16:14:49 | Li Fei |  |  | 0 | 0
6342 | Building License | Escalator PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Escalator 9 E05860 (Fujitec) ES09 | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-17 16:15:43 | 2022-02-17 16:16:09 | Li Fei |  |  | 0 | 0
6343 | Building License | Escalator PTO | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inspection on Escalator 10 E05861 (Fujitec) ES10 | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-28 | 2022-02-28 |  | 2022-02-17 16:09:28 | 2022-02-17 16:09:51 | Li Fei |  |  | 0 | 0
6264 | Building License | MOM License | Array Engineering & Facilties Management Pte Ltd | 2 Yearly | Compressor - Air Receiver, L2 Dental - 2, Kaeser Dental 3T, AR124244K, 1247 | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-24 | 2022-02-24 |  | 2022-02-16 08:50:23 | 2022-02-16 08:51:15 | Muthu Shanmugavelu |  |  | 0 | 0
6266 | Building License | MOM License | Array Engineering & Facilties Management Pte Ltd | 2 Yearly | Compressor - Air Receiver, L2 Dental - 4, Kaeser Dental 3T, AR124246A, 1249 | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-24 | 2022-02-24 |  | 2022-02-16 08:52:14 | 2022-02-16 08:52:40 | Muthu Shanmugavelu |  |  | 0 | 0
6267 | Building License | MOM License | Array Engineering & Facilties Management Pte Ltd | 2 Yearly | Compressor - Air Receiver, L2 Dental - 5, Kaeser Dental 3T, AR124247E, 1251 | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-24 | 2022-02-24 |  | 2022-02-16 08:53:11 | 2022-02-16 08:54:42 | Muthu Shanmugavelu |  |  | 0 | 0
6295 | Building License | MOM License | Array Engineering & Facilties Management Pte Ltd | Yearly | PE Inpsection on Lifting Hoist at L3 SP Room, LM592191L | Building License | PE Inspection / Submission | RMG |  |  |  | 90 | 2022-02-23 | 2022-02-23 |  | 2022-02-17 14:50:30 | 2022-02-17 14:50:54 | Li Fei |  |  | 0 | 0
6310 | Building License | Calibration Cert | Array Engineering & Facilties Management Pte Ltd | Half Yearly | Gas Detector BWS-N-Y (for Nitric Oxide used by OT) | Building License | Calibration | RMG |  |  |  | 90 | 2022-02-21 | 2022-02-21 |  | 2022-02-17 14:57:23 | 2022-02-21 09:18:06 | Muthu Shanmugavelu |  |  | 0 | 0
6453 | Medical Equipment | Medical Gas | Array Engineering & Facilties Management Pte Ltd | Quarterly | Medical Compressed Air Cum Dryer at L3 | Medical Equipment | Inspection / Maintenance | RMG |  |  |  |  | 2022-02-01 | 2022-02-28 |  | 2022-02-24 15:33:58 | 2022-02-28 10:31:02 | Rabart |  |  | 0 | 0